## AMC Open Tickets
Ahmedabad Smartcity
AMC Open Tickets
by NMS at 17-9-2026 01:19 AM
Report Time Period : 13-11-2019 01:19 AM to 17-9-2026 01:19 AM
Id | Department | AMC ID | IP | Subject | Status | Site Type | Device Type | Created Time | Down Reason | Down ANPR | Down RLVD | Down Junction PTZ | Down Access Points | Down Fix Camera | Down Motorized Camera | Down Surveillance PTZ | PA System | Bridge Camera | BRTS Camera (ANPR) | Zone | Tags | Actual Device Down Time
AMC-2249672 | AMC | NA | NA | TALAVDI | Open | VMD | VMD Display | 06-2-2024 03:21 PM | VMD Ratification | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | Westzone | AMC 2025 | ---
AMC-2264523 | AMC | NA | --- | Naroda Bethak | Open | Unassigned | Unassigned | 25-3-2025 12:53 PM | Unassigned | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Unassigned | AMC 2025 | ---
AMC-2265278 | AMC | NA | NA | Hetarth Party Plot | Open | VMD | VMD Display | 05-5-2025 01:56 PM | MCB/RCCB BURNT OR FAULTY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | ---
AMC-2266392 | AMC | NA | NA | Lemon Tree | Open | VMD | VMD Display | 16-6-2025 02:54 PM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | ---
AMC-2267690 | AMC | NA | NA | Zipline RiverFront | Open | VMD | VMD Display | 31-7-2025 11:09 AM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | ---
AMC-2272760 | AMC | 1941 | 10.38.39.58 | Sutarkhana Karkhana Tran Rasta Primary SWITCH AMC 1941 ( 10.38.39.58 ) | Open | Junction | Primary Switch | 19-2-2026 05:02 PM | Power Outage | 6 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 18-2-2026 11:28 PM
AMC-2272783 | AMC | 739 | 10.33.50.62 | Vagh Bakri Tea Junction Camera P3L1 AMC - 739 ( 10.33.50.62 ) | Open | Junction | ANPR Camera | 20-2-2026 05:00 PM | Cat6 cable Cut due to AMC work | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 20-2-2026 12:31 AM
AMC-2272806 | AMC | 935 | 10.38.30.82 | JCP SECTOR 1 P S Sw AMC 935 ( 10.38.30.82 ) | Open | Police Station | Dlink Switch | 21-2-2026 05:30 PM | Internal Maintenance work | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Northzone | BSNL TO AMC | 05-3-2025 07:50 AM
AMC-2273401 | AMC | BRTS CAMERA | 0.0.0.0 | BRTS CAMERA | Open | BRTS | Fix Camera | 20-3-2026 07:40 PM | AMC Maintenance Work | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | Westzone | AMC 2025 | 24-3-2026 07:45 PM
AMC-2273402 | AMC | BRTS AP | 0.0.0.0 | BRTS AP | Open | BRTS | Fix Camera | 20-3-2026 07:42 PM | AMC Maintenance Work | 0 | 0 | 0 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 18-3-2026 07:47 PM
AMC-2274703 | AMC | 1928 | 10.33.50.67 | Commerce Six Roads SWITCH P2 AMC 1928 ( 10.33.50.67 ) | Open | Junction | Primary Switch | 05-5-2026 03:49 PM | power and cat6 cables cut due to AMC work | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 05-5-2026 01:06 AM
AMC-2275149 | AMC | 1892 | 10.37.43.99 | Fly over bridge of narol cross road switch 2 AMC 1892 ( 10.37.43.99 ) | Open | NEW BRIDGE | Secondary Switch | 21-5-2026 06:06 PM | Power cable cut due to AMC work | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | Southzone | AMC 2025 | 03-4-2026 07:59 PM
AMC-2275322 | AMC | NA | NA | Kargil Petrol Pump | Open | VMD | VMD Display | 27-5-2026 04:38 PM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 27-5-2026 04:41 PM
AMC-2276400 | AMC | 725 | 10.35.8.200 | Jivraj Park Cross Road Junction PTZ Camera AMC 725 ( 10.35.8.200 ) | Open | Junction | Junction PTZ Camera | 29-6-2026 12:53 PM | Power cable cut due to AMC work | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Newwestzone | AMC 2025 | 28-6-2026 04:14 PM
AMC-2276564 | AMC | 1801 | 10.38.39.114 | AMC 1801 Naroda GIDC Estate Gate No 02 Primary SWITCH ( 10.38.39.114 ) | Open | Junction | Primary Switch | 04-7-2026 05:23 PM | AMC Maintenance Work | 10 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 08-5-2026 12:08 PM
AMC-2276776 | AMC | LKM-1755 | 10.33.7.147 | Prahladnagar Garden Entry Exit Amc -LKM 1755 ( 10.33.7.147 ) | Open | Surveillance | Fix Camera | 08-7-2026 06:10 PM | Power Cable Faulty | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 27-6-2026 06:17 PM
AMC-2277400 | AMC | NA | NA | Sports Complex | Open | VMD | VMD Display | 26-7-2026 02:46 PM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 26-7-2026 02:51 PM
AMC-2277715 | AMC | NA | NA | Mangalya Society | Open | VMD | VMD Display | 03-8-2026 03:51 PM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 03-8-2026 03:56 PM
AMC-2277927 | AMC | NA | NA | Passport Office | Open | VMD | VMD Display | 09-8-2026 11:43 AM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 09-8-2026 11:46 AM
AMC-2278195 | AMC | 661 | 10.33.23.82 | Ganthiyarath Chandkheda Switch AMC 661 ( 10.33.23.82 ) | Open | Surveillance | Dlink Switch | 17-8-2026 06:04 PM | Power Outage | 0 | 0 | 0 | 0 | 4 | 0 | 1 | 0 | 0 | 0 | Westzone | AMC 2025 | 17-8-2026 12:03 AM
AMC-2278507 | AMC | 142 | 10.37.38.50 | Chandola talav BRTS Depo switch AMC 142 ( 10.37.38.50 ) | Open | Surveillance | Dlink Switch | 30-8-2026 10:20 AM | Power Outage | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | Southzone | AMC 2025 | 29-8-2026 11:49 PM
AMC-2278596 | AMC | 1066 | 10.33.22.42 | Nava Vadaj-3_school Switch AMC 1066 ( 10.33.22.42 ) | Open | Surveillance | Dlink Switch | 02-9-2026 01:23 PM | Site Shifted | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 02-9-2026 11:03 AM
AMC-2278599 | AMC | NA | NA | IIM Road | Open | VMD | VMD Display | 02-9-2026 02:24 PM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 02-9-2026 02:29 PM
AMC-2278790 | AMC | 1935 | 10.38.39.18 | Rubi T Tran Rasta Primary SWITCH AMC 1935 ( 10.38.39.18 ) | Open | Junction | Primary Switch | 10-9-2026 01:52 PM | Power cable cut due to AMC work | 8 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 10-9-2026 12:07 PM
AMC-2278850 | AMC | 1007 | 10.34.21.74 | Kalupur School 6 Switch AMC 1007 ( 10.34.21.74 ) | Open | Surveillance | Dlink Switch | 12-9-2026 01:58 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Centralzone | AMC 2025 | 12-9-2026 03:14 AM
AMC-2278927 | AMC | 968 | 10.35.21.50 | FTTH Memadpura Primary School Switch AMC 968 ( 10.35.21.50 ) | Open | Surveillance | Dlink Switch | 14-9-2026 06:45 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Newwestzone | AMC 2025 | 14-9-2026 10:58 AM
AMC-2278944 | AMC | 1244 | 10.37.21.170 | School BAHERAMPURA 3 Switch AMC 1244 ( 10.37.21.170 ) | Open | Surveillance | Dlink Switch | 15-9-2026 10:28 AM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Southzone | AMC 2025 | 15-9-2026 02:41 AM
AMC-2278956 | AMC | 879 | 10.34.30.58 | FTTH Khadiya Police Station AMC 879 ( 10.34.30.58 ) | Open | Police Station | Dlink Switch | 15-9-2026 12:49 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Centralzone | AMC 2025 | 14-9-2026 10:00 AM
AMC-2278957 | AMC | 74 | 10.34.35.26 | UHC KHADIA Switch AMC 74 ( 10.34.35.26 ) | Open | Surveillance | Dlink Switch | 15-9-2026 12:50 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Centralzone | AMC 2025 | 11-9-2026 11:00 PM
AMC-2278989 | AMC | NA | NA | Amul Middle Side | Open | VMD | VMD Display | 15-9-2026 06:16 PM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 15-9-2026 06:20 PM
AMC-2278997 | AMC | NA | NA | Toyota Circle | Open | VMD | VMD Display | 15-9-2026 06:20 PM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 15-9-2026 06:25 PM
AMC-2279034 | AMC | 1487 | 10.38.28.34 | Popatiyavad Switch AMC 1487 ( 10.38.28.34 ) | Open | Tajiya | Dlink Switch | 16-9-2026 05:51 PM | Power Outage | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 16-9-2026 05:33 PM
AMC-2279041 | AMC | 991 | 10.35.21.162 | FTTH SANKLITNAGAR PRI. School 2 Switch AMC 991 ( 10.35.21.162 ) | Open | Surveillance | Dlink Switch | 16-9-2026 06:36 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Newwestzone | AMC 2025 | 16-9-2026 12:56 PM
AMC-2279042 | AMC | 1134 | 10.38.21.82 | FTTH Kubernagar School English 1 AMC 1134 ( 10.38.21.82 ) | Open | Surveillance | Dlink Switch | 16-9-2026 06:38 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 16-9-2026 05:01 PM
AMC-2279043 | AMC | 1180 | 10.36.21.66 | FTTH Rajpur School 1 Switch AMC 1180 ( 10.36.21.66 ) | Open | Surveillance | Dlink Switch | 16-9-2026 07:16 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Eastzone | AMC 2025 | 16-9-2026 12:55 PM